New techniques in olive mill wastewater treatment (OMW)

Arvaniti, E. C.,2, Zaglis, D.P.1,2, Papadakis, V.G.3 & Paraskeva, C.A. 1,2

Key words: membrane filtration, OMW treatment, commercially available techniques

Abstract

A new cost-effective system for complete exploitation of OMW is suggested, offering a viable solution to the problem of OMW disposal. Use of the proposed separation techniques prefiltration (PF), Ultrafiltration [UF], nanofiltration [NF], and reverse osmosis [RO]) produce byproducts that might include additional benefits. A pilot plant was developed in an olive mill operating in Achaia (Patras, Greece) during an olive harvesting season. Large volumes of OMW produced daily were treated systematically in a semibatch procedure to identify problems relevant to long-term behavior and reliability. The study showed that a fraction of pure water up to 75% can be recovered. Also fractions are isolated that contained concentrate nutritious and polyphenol content which can be further exploited in order to reduce the, indeed, high cost of the suggested treatment process. Finally, a feasibility-exploitation study was done to estimate if depreciation of the (indeed) expensive investment may occur in a short period of time. Together with the proposed method a synopis of commercially available techniques for the effective treatment of OMW is given. These techhnologies are based on biological, advanced oxidation, physicochemical and separation processes (composting, trickling filters, evaporation, oxidation, hydrolysis, co-digestion in a sewage treatment plant, production of solid fuels, etc).

Introduction

Olive oil production, an agro-industrial activity of vital economic significance to many Mediterranean countries, is unfortunately associated with the generation of large quantities of by-products such as wastewaters (olive mill wastewater—OMW) and solid wastes, whose management, treatment and safe disposal raise serious environmental concerns. The characteristic properties of OMW include its dark color, characteristic odour, acidic pH and high organic content mainly composed of classes of pollutants such as polyphenols that may exhibit antimicrobial, ecotoxic and phytotoxic properties. Problems arise also from the fact that olive oil production is seasonal and so the treatment process should be flexible enough to operate in a non-continuous mode, otherwise storage of the wastewater will be required. Moreover, the olive mills are small enterprises, family businesses in the main, scattered around the olive production areas, making individual on-site treatment options unaffordable. The discharge of olive waste into the soil may cause, in plants, leaf and fruit abscission and inhibition of seed germination if are being disposed uncontrollably. Discharging into water bodies increase the phosphorous content, cause colour alteration and bad smell. Finally, by disposing olive wastes in open spaces then microbial fermentation is enhanced, with the production of methane and a wide array of harmful or simply bad smelling gases. Coping with the environmental pollution problem, created by wastes from olive mills, presents large difficulties, mainly due to the high cost of the treatment of residual waters using the various systems proposed so far. Therefore new more effective OMW treatment methods have been investigated in order to minimize the environmental problem that OMW cause. The effective treatment of OMW, with moderate-to-high polluting load at a reasonable cost usually requires a combination of various physical, chemical and biological technologies. Processes like membrane separation, filtration, adsorption, coagulation, settling, are suitable as a preliminary treatment to remove solids, colour, odour and certain classes of compounds like polyphenols in OMW, thus reducing the initial polluting load considerably; however the output stream is unlikely to meet discharge limits and effluent mineralization usually requires chemical, further physicochemical and/or biological oxidation methods. The idea of using membrane technology for the treatment of OMW is revisited in the present work in which a new cost-effective system for complete exploitation of OMW is suggested, offering a viable solution to the problem of OMW disposal. Use of the proposed separation techniques produces by-products that might have high additional benefits. A pilot plant was developed in an olive mill operating in Achaia region (Patras, Greece) during an olive harvesting season [1, 2]. A feasibility-exploitation study was performed to estimate if the depreciation of the expensive investment may be done in a short period.

Experimental

Ultrafiltration (UF), nanofiltration (NF) and/or reverse osmosis (RO) can be used for partial separation of OMW fractions. These methods were investigated in previous work [Paraskeva et al, 2007] in a systematic parametric study changing accordingly the operational parameters, such as temperature, pressure, ionic strength and initial pH of different source of OMW, size of membranes (pore diameter), etc., in order to lead to a higher separation of toxic fraction from the nutritious one. Different fractions were derived from the whole process: a nutritious fraction as pre- or after- UF concentrate containing the larger components of the solution in terms of molecule size, a toxic fraction as RO concentrate containing the main part of phenols (ecological herbicide), a plant nutritious fraction as RO permeate containing the inorganic salts (fertilizer), and almost pure water for recycling/or irrigation or for free disposal to aqueous acceptors (lakes, rivers or sea). One thing that is of primary importance, it is that UF provides a “clean” solution appropriate to feed next treatment processes (NF and RO). UF alone cannot isolate individual fractions (in terms of only toxic or only nutrient solutions) but without UF we cannot proceed for further purification with the NF and/or RO. Physicochemical analysis of the collected compounds in pre-treatment procedure, Ultrafiltration, Nanofiltration and Reverse Osmosis is shown in the Table 1. The permeate stream from each unit is used as feed stream for the next membrane unit and the final produced water can be safely used as recycling or irrigation water.

| Parameter | Raw | Perm prefilter =feed UF | Ultrafiltration |  | Nanofiltration |  | Reverse Osmosis 2 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Conc | Perm= feed NF | Conc | Perm= feed RO2 | Conc | Perm |
| Salinity, % | 0.66 | 0.66 | 0.67 | 0.6 | 1.11 | 0.01 | 0.02 | 0.0 |
| TSS, g/l | 21.5 | 18.5 | 46.98 | 2.4 | 5.32 | 0 | 0.0 | 0.0 |
| t-COD, g/l | 97.3 | 92.9 | 127.1 | 94.9 | 156.4 | 1 | 9.1 | 0.2 |
| d-COD, g/l | 85.6 | 72.2 | 61.92 | 77.6 | 131.3 | 1 | 7.6 | 0.16 |
| Sugars, g/l | 28.7 | 20.5 | 18.8 | 24.1 | 51.8 | 0.31 | 3.2 | 0.1 |
| Phenolics, g/l | 5.91 | 5.08 | 4.16 | 5.04 | 10.6 | 0.1 | 0.9 | 0.01 |

Table 1. Physicochemical characterization of fractions of the various treatment stages.

Technoeconomical analysis

Having the appropriate methods that should be followed for the efficient separation of the “nutritious” from the “toxic” fraction, an optimum, technical and economical, design of the process at industrial level was carried out. After definition of the operational parameters, the process flowchart was constructed via a hierarchy of design decisions, namely structure of input-output, recycling, separation and thermal integration [Paraskeva et al, 2007, a, b]. Region of Western Greece is the suggested area for the establishment of OMW pilot plant. It is an area with a tradition in olive oil production. Furthermore, Achaia is adjoining to several olive oil production areas. There are 50 active olive mills in Achaia and surroundings. Taking into account the distances among olive mills, the transportation costs (fuel and service expenses) are estimated to 0.25 €/km. All the olive mills are gathered close to Patras Industrial Area where there are available areas and the necessary infrastructures for the establishment of an OMW treatment unit. Investments incentives and tax reductions have been given to the Patras Industrial Area for the industrial development in Achaia, which increases depreciation of the investment. Therefore, the establishment of a central plant in the Industrial Area of Patras it is suggested in the present work.

The techno-economical study for the establishment of an OMW treatment unit has the following approximate characteristics:

Feed to the system		: OMW

Feed flowrate		: 10,000 l/h (50,000 t/yr)

Permeate flowrate		: 8,000 l/h

COD removal		: 99.5%

Grease substances removal	: 99.99%

Dry matter removal		: 99.5%

Total purchase and installation cost, C1: 1,345,000 €.

Estimated equipment lifetime: 10 years.

Total building cost: 345,000 €

Total fixed cost, C: 1,690,000 €

Initial capital cost, IC: 304,000 €

Establishment cost (fixed cost + Initial capital cost): 1,994,000 €

Biodynamic experiments, C2: 1,000,000 €

Total operational cost (taxes exclude), OC: 1,008,000 €/yr

Production of 50,000 t/yr OMW treatment gives: 5% nutritious fraction: 2,500 t/yr, 15% toxic fraction: 7,500 t/yr, Pure water for recycling or irrigation: 40,000 t/yr

Production of an amount of 50,000 t/yr OMW treatment gives: 5% nutritious fraction: 2,500 t/yr, 15% toxic fraction: 7,500 t/yr, pure water for recycling or irrigation: 40,000 t/yr. The value of the “nutritious fraction”, taking into account its concentration in nutritious components (either as fertilizer or as animal feed integrator) is estimated that has an order of magnitude of 100 €/t UF concentrate, that gives 250,000 €/yr. The value of the “toxic fraction” as herbicide is estimated as much higher, due to the higher value of phytotoxic constituents (herbicides) in the market. Taking into account the concentration of the RO concentrate, a modest value of 500 €/t RO concentrate is estimated, that gives about 3,750,000 €/yr. In Western Greece Region case, the mean payout period for the investment is estimated to  = 2.5 years (more details are given in Papadakis and Kyriazis, 2009).

Available techniques for the effective treatment of OMW

Best known olive mill wastewater treatment methods are: Direct disposal; Disposal to uncultivated or agricultural soils; Disposal of OMW to the surface waters or the sea; Composting; Evaporation; Storage – Natural evaporation; Thermal concentration (forced evaporation); Physicochemical treatment; Treatment of OMW with calcium hydroxide [CaO, Ca(OH)2]; Treatment of OMW with clay; Membrane filtration; Modern Methods for Olive Mill Wastewater, Biological treatment. In the framework of European Life project (Project LIFE07/INF/IT/438) a list with existing commercial technologies was created after the in-situ inspection of the partners of the specific project. This commercial available techniques referred to Composting in windrows, Composting in U-corridor, Composting in 2-phase and 3-phase in bio-containers, Composting of wastes Anaerobic digestion in a sewage treatment plant, Aerobic biological treatment: trickling filter + artificial wetland, Phytoremediation (rhizodegradation), Production of solid fuels – Biocombus, Electrical-coagulation, Evaporation - oxidation – hydrolysis. Unit E.H.O.®.

Conclusion

The management of produced OMW constitutes a long-term and particularly unsolved problem, because of their high organic load, their particular physicochemical composition, the potentially toxic attributes, the intense of short time interval of production and the high cost investment requirements. Existing treatment methods solve partially the problem. More effective and environmental friendly methods are required. The present work presents a techno-economic analysis of the OMW treatment using membranes filtration. The introduction of the proposed new integrated technology reduces dramatically the environmental damage and provides a profitable alternative to the olive mills due to utilization of all by-products. The rate of return on the investment is extremely high, much higher than the current bank interest, which makes the investment vital. Moreover, the mean payout period can be considered as satisfactory, taking into account that the whole equipment of the investment is new, and the total cost of the investment has been considered, thus in the net profit the depreciations have been added.

ACKNOWLEDGMENTS

Authors wish to thank the European Commission for financial support for dissemination of their results under FP7-Regions-2009-1 STInno project (245405).

References

C. A Paraskeva, V. G. Papadakis, E. Tsarouchi, D. G. Kanellopoulou, P.G Koutsoukos (2007): Membrane Processing for Olive Mill Wastewater Fractionation. Desalination. 213: 218-229

C. A. Paraskeva, V.G. Papadakis, D.G. Kanellopoulou, P.G. Koutsoukos and K.C. Angelopoulos (2007): Membrane filtration of olive mill wastewater (OMW) and OMW fractions’ exploitation. Water Environment Research. 79: 421-429

Papadakis, V.G. and Kyriazis C (2009): Techoeconomical Study, Tziolas, Thessaloniki, p.328

"European awareness raising campaign for an environmentally sustainable olive mill waste management", Project LIFE07/INF/IT/438, http://www.lifeoleicoplus.it/GR/

Institute of Chemical Engineering and High Temperature Chemical Processes Foundation for Research and Technology, Hellas (FORTH/ICE-HT), Patras, Greece

2 Department of Chemical Engineering University of Patras, Greece, email: takisp@chemeng.upatras.gr

3 Department of Environmental & Natural Resources Management, University of Western Greece, Agrinio, Greece